## README
sharkfork.ods

Copyright 2018, Fork Sand, Inc.
Permission is granted to copy, distribute and/or modify this document under the terms of the Creative Commons Attribution 4.0 International Public License (CC BY-SA 4.0).

Spreadsheet of a Private Cloud Deployment.
Information may be inaccurate and is quickly dated.

## Switch Ports
Switch		Admin/IPMI	Length		DMZ	Length		Filesystem 1	Length		Filesystem 2	Length		Corosync 1	Length		Corosync 2	Length		Migration	Length		Shark WAN	Length		Shark Admin	Length		pfSync Xover	Length

Port 1		sf-fw1 igb2	.3m		sf-fw1 igb0	.5m		sf-fw1 igb3	.3m		Free			sf-fw1 igb5	.3m		Free			sf-fw1 igb4	.5m		sf-fw1 igb1	?		sf-fw1 Admin	?		sf-fw1 ix2	.3m
Port 2		sf-001 Admin	.3m + DEPTH		sf-001 eno1	.5m + DEPTH		sf-001 eno2			sf-001 enp134s0f1			sf-001 eno4			sf-001 enp134s0f0			sf-001 eno3			sf-fw2 igb1	?		sf-fw1 Admin	?		sf-fw2 ix2	.3m
Port 3		sf-006 Admin			sf-006 eno1			sf-006 eno2			sf-006 enp134s0f1			sf-006 eno4			sf-006 enp134s0f0			sf-006 eno3
Port 4		Free			Free			Free			Free			Free			Free			Free
Port 5		sf-002 Admin	.3m + DEPTH		sf-002 eno1			sf-002 eno2			sf-002 enp134s0f1			sf-002 eno4			sf-002 enp134s0f0			sf-002 eno3
Port 6		Free			sf-005 eno1	2m		sf-005 eno2	2m		sf-005 enp101s0f3	2m		sf-005 enp101s0f1	2m		sf-005 enp101s0f2	2m		sf-005 enp101s0f0	2m
Port 7		sf-007 Admin			sf-007 eno1			sf-007 eno2			sf-007 enp134s0f1			sf-007 eno4			sf-007 enp134s0f0			sf-007 eno3
Port 8		Free			Free			Crossover to FS 2			Crossover to FS 1			Free			Free			Free
Port 9		sf-003 Admin	.3m + DEPTH		sf-003 eno1			sf-003 eno2			sf-003 enp216s0f0			sf-003 enp175s0f1			sf-003 enp216s0f1			sf-003 enp175s0f0
Port 10		Free			Free			Free			Free			Free			Free			Free
Port 11		Free			Free			Free			Free			Free			Free			Free
Port 12		sf-004 Admin	.5m + DEPTH		sf-004 eno1			sf-004 eno2			sf-004 enp134s0f1			sf-004 eno4			sf-004 enp134s0f0			sf-004 eno3
Port 13		Free			Free			Free			Free			Free			Free			Free
Port 14		Free			sf-fw2 igb0	.5m		sf-fw2 igb3	.5m		Free			sf-fw2 igb5	.3m		Free			sf-fw2 igb4	.5m
Port 15(F)		Free			Free			Free			sf-fw1 ix1	1m		Free			sf-fw1 ix0	1m		Free
Port 16(F)		sf-005 Admin	2m copper		Free			Free			sf-fw2 ix1	1m		Free			sf-fw2 ix0	1m		Free
Port 17		Free
Port 18		Free
Port 19		Free
Port 20		Free
Port 21		Free
Port 22		Free
Port 23		Free
Port 24		sf-fw2 igb2	.5m
Port 25T		Free
Port 26T		Free
Port 27F		Free
Port 28F		Free

Color(s)		Black			Red			Blue			White			White			Blue, white, black			Purple, yellow, green			Purple, Cyan			Gold			Pink
		Yellow			Blue			Yellow						Black						Aucas			Tera Grand
		Blue			Yellow			Green						Yellow
Brand		Aucas			Aucas			Aucas			Ultra Clarity			Aucas			Pasow			Aucas			Tera Grand			DanYee			XXX

											fw fiber Aqua						fw fiber Aqua

Order		6			6			6			0			0			0			0			4			4			0			26
		4x .5m on order			2x .5 on order			2x .5 on order			Fiber on hand			2x .5m on order			Fiber ordered						1x 3ft on hand			1x 3ft on hand
		2x 1m on order			4x 1m on order			4x 1m on order			4x 1m on order			4x 1m on order			2x .5m			2x .5m			1x 3ft on order			1x 3ft on order
On Hand		1x 1m									2x .5m on order						4x 1m			4x 1m			2x 6ft on order			2x 10ft on order
											2x 2m on order

		Notes:

		Approx:
		.3m = 1ft
		.5m = 1.5ft
		1m = 3ft

		Assumes 42in
		deep cabinet! XXX
		47in?

## Network
Interface	Switch	Address	Comments
sf-fw1
IPMI	Upstream VLAN	192.168.110.21	XXX Need IP from SharkTech
igb0	DMZ	10.22.22.253	Default LAN interface in OPNSense
igb1	Upstream WAN	174.128.244.195	XXX Need gateway from SharkTech
igb2	Admin	10.7.7.253
igb3	Filesystem 1	10.99.1.253
igb4	Migration	10.68.68.253
igb5	Corosync 1	10.3.1.253
ix0	Corosync 2 fiber	10.3.2.253
ix1	Filesystem 2 fiber	10.99.2.253
ix2	pfSync crossover	10.254.254.253
ix3	Free
sf-fw2
IPMI	Upstream VLAN	192.168.110.22	XXX Need IP from SharkTech
igb0	DMZ	10.22.22.252	Default LAN interface in OPNSense
igb1	Upstream WAN	174.128.244.196	XXX Need gateway from SharkTech
igb2	Admin	10.7.7.252
igb3	Filesystem 1	10.99.1.252
igb4	Migration	10.68.68.252
igb5	Corosync 1	10.3.1.252
ix0	Corosync 2 fiber	10.3.2.252
ix1	Filesystem 2 fiber	10.99.2.252
ix2	pfSync crossover	10.254.254.252
ix3	Free
sf-001
IPMI	Admin	10.7.7.1
eno1	DMZ	10.22.22.1
eno2	Filesystem 1	10.99.1.1
eno3	Migration	10.68.68.1
eno4	Corosync 1	10.3.1.1
enp134s0f0	Corosync 2	10.3.2.1
enp134s0f1	Filesystem 2	10.99.2.1
sf-002
IPMI	Admin	10.7.7.2
eno1	DMZ	10.22.22.2
eno2	Filesystem 1	10.99.1.2
eno3	Migration	10.68.68.2
eno4	Corosync 1	10.3.1.2
enp134s0f0	Corosync 2	10.3.2.2
enp134s0f1	Filesystem 2	10.99.2.2
sf-003
IPMI	Admin	10.7.7.3
eno1	DMZ	10.22.22.3
eno2	Filesystem 1	10.99.1.3
enp175s0f0	Migration	10.68.68.3
enp175s0f1	Corosync 1	10.3.1.3
enp175s0f2
enp175s0f3
enp216s0f0	Filesystem 2	10.99.2.3
enp216s0f1	Corosync 2	10.3.2.3
enp216s0f2
enp216s0f3
sf-004
IPMI	Admin	10.7.7.4
eno1	DMZ	10.22.22.4
eno2	Filesystem 1	10.99.1.4
eno3	Migration	10.68.68.4
eno4	Corosync 1	10.3.1.4
enp134s0f0	Corosync 2	10.3.2.4
enp134s0f1	Filesystem 2	10.99.2.4
sf-005
IPMI	Admin	10.7.7.5
eno1	DMZ	10.22.22.5
eno2	Filesystem 1	10.99.1.5
enp101s0f0	Migration	10.68.68.5
enp101s0f1	Corosync 1	10.3.1.5
enp101s0f2	Corosync 2	10.3.2.5
enp101s0f3	Filesystem 2	10.99.2.5
sf-006				INCORRECT LABELS
IPMI	Admin	10.7.7.6
enp24s0f0	DMZ	10.22.22.6		eno1
enp24s0f1	Filesystem 1	10.99.1.6	XXX could be Filesystem 2	eno2
enp24s0f2	Migration	10.68.68.6		eno3
enp24s0f3	Corosync 1	10.3.1.6		eno4
enp175s0f1	Corosync 2	10.3.2.6		enp134s0f0
enp175s0f0	Filesystem 2	10.99.2.6	XXX could be Filesystem 1	enp134s0f1
sf-007				INCORRECT LABELS
IPMI	Admin	10.7.7.7
enp24s0f0	DMZ	10.22.22.7		eno1
enp24s0f1	Filesystem 1	10.99.1.7	XXX could be Filesystem 2	eno2
enp25s0f0	Migration	10.68.68.7		eno3
enp25s0f1	Corosync 1	10.3.1.7		eno4
enp59s0f1	Corosync 2	10.3.2.7		enp134s0f0
enp59s0f0	Filesystem 2	10.99.2.7	XXX could be Filesystem 1	enp134s0f1

## Port Layout
sf-fw1
sf-fw2

	ipmi sharktech	igb1 wan	igb3 filesystem1	igb5 corosync1	ix1 filesystem2			ix3	ix2 pfsync

		igb0 dmz	igb2 admin	igb4 migration	ix0 corosync2

sf-001
sf-002
sf-006

	eno3 migration	eno4 corosync1		ipmi admin		enp134s0f0 corosync2	enp134s0f1 filesystem2

	eno1 dmz	eno2 filesystem1

sf-003

	eno1 dmz	eno2 filesystem1		ipmi admin		enp175s0f0 migration	enp175s0f1 corosync1	enp175s0f2	enp175s0f3

					enp216s0f3	enp216s0f2	enp216s0f1 corosync2	enp216s0f0 filesystem2

sf-004
sf-007

	eno3 migration	eno4 corosync1		ipmi admin		enp134s0f1 filesystem2	enp134s0f2 corosync2

	eno1 dmz	eno2 filesystem1

sf-005

	ipmi admin		eno1 dmz	eno2 filesystem1		enp101s0f0 migration	enp101s0f1 corosync1	enp101s0f2 corosync2	enp101s0f3 filesystem2

## IPs
IP	Server	Service	Status
pubsubnet-001
174.128.244.192	-	/26 Network Address
174.128.244.193	testo5-twopool	Testing
174.128.244.194	testo4	Testing
174.128.244.195	ocadev2	OCA Development
174.128.244.196	ocadev3	OCA Development
174.128.244.197	ocadev4	OCA Development
174.128.244.198	HONEYPOT	-
174.128.244.199	HONEYPOT	-
174.128.244.200	HONEYPOT	-
174.128.244.201	testo1	Testing
174.128.244.202	testo2	Testing
174.128.244.203	testo3	Testing
174.128.244.204	trace	Testing
174.128.244.205	HONEYPOT	-
174.128.244.206	twopool	Testing
174.128.244.207
174.128.244.208	ao-nat	Aleph Objects NAT
174.128.244.209	ao-once-dev1	Aleph Objects OCA Development 1	Check
174.128.244.210	ao-once-dev2	Aleph Objects OCA Development 2	Check
174.128.244.211	ao-once-dev3	Aleph Objects OCA Development 3	Check
174.128.244.212	ao-talend1	Aleph Objects Talend 1	Check
174.128.244.213	ao-download	Aleph Objects Downloads	Check
174.128.244.214	ao-projects	Aleph Objects OpenProjects	Check
174.128.244.215	ao-code	Aleph Objects Phabricator	Check
174.128.244.216	ao-lulzbot	Aleph Objects Drupal	Check
174.128.244.217	HONEYPOT	-
174.128.244.218	HONEYPOT	-
174.128.244.219	matomo	Web Analytics
174.128.244.220	www	Web Proxy
174.128.244.221	www1	Web
174.128.244.222	www2	Web
174.128.244.223	www3	Web
174.128.244.224	www4	Web
174.128.244.225	HONEYPOT	-
174.128.244.226	HONEYPOT	-
174.128.244.227	HONEYPOT	-
174.128.244.228	HONEYPOT	-
174.128.244.229	HONEYPOT	-
174.128.244.230	HONEYPOT	-
174.128.244.231	ns1	Nameserver
174.128.244.232	ns2	Nameserver
174.128.244.233	mx1	Mail
174.128.244.234	mx2	Mail
174.128.244.235	HONEYPOT	-
174.128.244.236	HONEYPOT	-
174.128.244.237	HONEYPOT	-
174.128.244.238	code	Git Source Code
174.128.244.239	oca	Production ERP
174.128.244.240	gocd	GoCD Server
174.128.244.241	HONEYPOT	-
174.128.244.242	HONEYPOT	-
174.128.244.243	HONEYPOT	-
174.128.244.244	internal	Internal SSH Proxy
174.128.244.245	util	Internal Utilities
174.128.244.246	archivos	Archives
174.128.244.247	cloud	Nextcloud
174.128.244.248	HONEYPOT	-
174.128.244.249	HONEYPOT	-
174.128.244.250	HONEYPOT	-
174.128.244.251	HONEYPOT	-
174.128.244.252	sf-fw2	Firewall DMZ IP
174.128.244.253	sf-fw1	Firewall DMZ IP
174.128.244.254	sf-fw1 sf-fw2	Firewall DMZ CARP
174.128.244.255	-	/26 Broadcast Address

70.39.115.168	-	/29 Network Address
70.39.115.169	sharktech	SharkTech Gateway
70.39.115.170	sf-fw1 sf-fw2	Firewall WAN CARP
70.39.115.171	sf-fw1	Firewall WAN IP
70.39.115.172	sf-fw2	Firewall WAN IP
70.39.115.173	FREE	-
70.39.115.174	FREE	-
70.39.115.175	-	/29 Broadcast Address

## IPs AO
Server	Service	Public IP	VPN IP	DMZ IP	Migrate Switch	MySQL IP	Postgres IP	Redis IP	Filesystem 1	Filesystem 2	Corosync 1	Corosync 2
Switch				DMZ Switch	Migrate Switch	Migrate Switch	Migrate Switch	Migrate Switch	FS 1 Switch	FS 2 Switch	Coro 1 Switch	Coro 2 Switch
	Network Address	70.39.84.0/26	10.104.11.0/24	10.192.1.0	10.68.68.0	10.43.1.0	10.53.1.0		10.99.1.0	10.99.2.0	10.3.1.0	10.3.2.0
mail-sf	Postfix / Dovecot	70.39.84.1	10.104.11.1	10.192.1.51
fone	VoIP	70.39.84.2	10.104.11.2
viejo	Still used?	70.39.84.3		10.192.1.53
draw	draw.io	70.39.84.4	10.104.11.4
lool	LibreOffice Online	70.39.84.5	10.104.11.5
own	Nextcloud	70.39.84.6	10.104.11.6
turn	TURN server	70.39.84.7	10.104.11.7
analytics	Matomo	70.39.84.8	10.104.11.8
spag	Spaghetti Detector Dev Server	70.39.84.9	10.104.11.9
forum	phpBB	70.39.84.10	10.104.11.10
jabber	XMPP	70.39.84.11	10.104.11.11
lulzdev1	Drupal Dev Server 1	70.39.84.12	10.104.11.12
lulzdev2	Drupal Dev Server 2	70.39.84.13	10.104.11.13
lulzdev3	Drupal Dev Server 3	70.39.84.14	10.104.11.14
lulzdev4	Drupal Dev Server 4	70.39.84.15	10.104.11.15
lulzdev5	Drupal Dev Server 5	70.39.84.16	10.104.11.16
lulzstage	Drupal Dev Staging Server	70.39.84.17	10.104.11.17
lulzbot.com	Drupal Production Server	70.39.84.18	10.104.11.18			10.43.1.18
ohai	Open Hardware Assembly	70.39.84.19	10.104.11.19
phplist	Mailing Lists	70.39.84.20	10.104.11.20
survey	LimeSurvey	70.39.84.21	10.104.11.21
aomail	Web Mail	70.39.84.22	10.104.11.22
www	AO Website	70.39.84.23	10.104.11.23
discourse	Mailing Lists	70.39.84.24	10.104.11.24
aowww	NOT USED New AO Django Website	70.39.84.25		10.192.1.75
testo1	Test Node	70.39.84.26		10.192.1.101
once-dev6	OCA 11 Development Server 6	70.39.84.27	10.104.11.27				10.53.1.27
once-dev1	OCA 11 Development Server 1	70.39.84.28		10.192.1.195			10.53.1.195
once-dev2	OCA 11 Development Server 2	70.39.84.29	10.104.11.196	10.192.1.196			10.53.1.196
once-dev3	OCA 11 Development Server 3	70.39.84.30	10.104.11.197	10.192.1.197			10.53.1.197
mule1	Mule ESB	70.39.84.31	10.104.11.31	10.192.1.198
talend1	Talend 1	70.39.84.32	10.104.11.32	10.192.1.199
download-sf	Aleph Objects Downloads	70.39.84.33	10.104.11.33
ao-projects	Aleph Objects OpenProjects	70.39.84.34	10.104.11.34			10.43.1.214
ao-code	Aleph Objects Phabricator	70.39.84.35	10.104.11.35			10.43.1.35
ao-lulzdev10	Aleph Objects Drupal Dev	70.39.84.36		10.192.1.216		10.43.1.216
buster-template	Debian Buster KVM Template	70.39.84.37	10.104.11.37
template	Debian Stretch KVM Template	70.39.84.38	10.104.11.38
aobuild2	Buildbot 1.4	70.39.84.39	10.104.11.39
aobuild3	Buildbot 0.8 ALLOCATED	70.39.84.40	10.104.11.40
djwww	Django WWW AO	70.39.84.41	10.104.11.41
fs2	Aleph Objects Shared Filesystem 2	70.39.84.42	10.104.11.42	10.192.1.50
mail-dev1	Development/Test Mail Server	70.39.84.43	10.104.11.43
oca-sf	OCA 11 Production Server Future	70.39.84.44	10.104.11.44				10.53.1.44
once-dev5	OCA 11 Development Server 5	70.39.84.45	10.104.11.45				10.53.1.45
codedb	Aleph Objects Phabricator Database	70.39.84.46	10.104.11.46			10.43.1.46
onionbot	OnionIOT Build Server	70.39.84.47	10.104.11.47
ohai-staging	OHAI Staging Development Server	70.39.84.48	10.104.11.48
marlin	Marlin Buster Development Server	70.39.84.49	10.104.11.49
jenkins	Jenkins Continuous Integration	70.39.84.50	10.104.11.50
ohai-production	OHAI Production Buster	70.39.84.51	10.104.11.51

ao-carp	Firewall AO DMZ CARP	70.39.84.62	10.104.11.254	10.192.1.254
	/26 Broadcast Address	70.39.84.63

pg1	Postgres 9.6 Server			10.192.1.81			10.53.1.81
pg2	Postgres 10 Server for once-dev2			10.192.1.82			10.53.1.82
pg3	Postgres 10 Server for once-dev3			10.192.1.83			10.53.1.83
pg4	Postgres 10 Server for Upgrade			10.192.1.84			10.53.1.84
pg5	Postgres 10 Server for once-dev5		10.104.11.85	10.192.1.84			10.53.1.85
doce-dev1	OCA 12 Development Server		10.104.11.86
fs-pg1	Fork Sand pg1 for AO XXX ?			10.192.1.91			10.53.1.91

apt-cache-sf	apt-cache-ng		10.104.11.112	10.192.1.112
socks-sf	SOCKS Proxy		10.104.11.114
eh-images	Elastichosts Images Archival History		10.104.11.115
pg-oca	Postgres for OCA Production		10.104.11.116				10.53.1.116
wiki-sf	Mediawiki		10.104.11.117
wiki2	Mediawiki upgrade dev server		10.104.11.118
projects-staging	OpenProject Staging Dev Server		10.104.11.119
p	Nextcloud		10.104.11.120

once-repg1	Postgres Replication for once-dev		10.104.11.121				10.53.1.121
once-repg2	Postgres Replication for once-dev		10.104.11.122				10.53.1.122
once-repg3	Postgres Replication for once-dev		10.104.11.123				10.53.1.123
once-repg4	Postgres Replication for once-dev		10.104.11.124				10.53.1.124
once-repg5	Postgres Replication for once-dev		10.104.11.125				10.53.1.125

pg-oca-rep1	Postgres Replication for OCA		10.104.11.131				10.53.1.131
pg-oca-hdd	Postgres Replication for OCA HDD Platters		10.104.11.132				10.53.1.132
pg-oca-barman	Postgres Backups for OCA		10.104.11.133				10.53.1.133
pg-oca-witness-1	Postgres Replication Witness 1 for OCA		10.104.11.134				10.53.1.134

pgxl-gtm-1	Postgres XL GTM 1		10.104.11.140				10.53.1.140
pgxl1	Postgres XL Data Node 1		10.104.11.141				10.53.1.141
pgxl2	Postgres XL Data Node 2		10.104.11.142				10.53.1.142
pgxl3	Postgres XL Data Node 3		10.104.11.143				10.53.1.143
pgxl4	Postgres XL Data Node 4		10.104.11.144				10.53.1.144
pgxl5	Postgres XL Data Node 5		10.104.11.145				10.53.1.145
pgxl-coord-1	Postgres XL Coordinator 1		10.104.11.146				10.53.1.146
pgxl-coord-2	Postgres XL Coordinator 2		10.104.11.147				10.53.1.147
pgxl-coord-3	Postgres XL Coordinator 3		10.104.11.148				10.53.1.148
pgxl-gtm-2	Postgres XL GTM 2		10.104.11.149				10.53.1.149
omnidb	Postgres OmniDB Web Interface		10.104.11.150				10.53.1.150
pgxl-proxy-1	Postgres XL GTM Proxy 1		10.104.11.151				10.53.1.151

lulz-sql1	lulzbot.com SQL 1		10.104.11.161			10.43.1.161
lulz-sql2	lulzbot.com SQL 2		10.104.11.162			10.43.1.162
lulz-sql3	lulzbot.com SQL 3		10.104.11.163			10.43.1.163

distcc1	distcc Server 1		10.104.11.171
distcc2	distcc Server 2		10.104.11.172
distcc3	distcc Server 3		10.104.11.173
distcc4	distcc Server 4		10.104.11.174
distcc5	distcc Server 5		10.104.11.175
distcc6	distcc Server 6		10.104.11.176
distcc7	distcc Server 7		10.104.11.177										distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171					distcc1	distcc Server 1		10.104.11.171
ao-jenkins-stretch1	Jenkins Node running Stretch		10.104.11.178

sf-001	SharkFork Proxmox Server 1		10.104.11.231
sf-002	SharkFork Proxmox Server 2		10.104.11.232
sf-003	SharkFork Proxmox Server 3		10.104.11.233
sf-004	SharkFork Proxmox Server 4		10.104.11.234
sf-005	SharkFork Proxmox Server 5		10.104.11.235
sf-006	SharkFork Proxmox Server 6		10.104.11.236
sf-007	SharkFork Proxmox Server 7		10.104.11.237

switches	Forwarded SNMP for Switches		10.104.11.240

sf-fw2	SharkFork Firewall 2		10.104.11.252
sf-fw1	SharkFork Firewall 1		10.104.11.253
sf-fw	CARP		10.104.11.254	10.192.1.254
	/24 Broadcast Address			10.192.1.255	10.68.68.255	10.43.1.255	10.53.1.255		10.99.1.255	10.99.2.255	10.3.1.255	10.3.2.255

## IPs Internal
Server	Service	DMZ IP	DMZ Disk	Migrate Switch	MySQL IP	Postgres IP	Redis IP	Filesystem 1	Filesystem 2	Corosync 1	Corosync 2	IPMI Switch
Switch		DMZ Switch	DMZ Switch	Migrate Switch	Migrate Switch	Migrate Switch	Migrate Switch	FS 1 Switch	FS 2 Switch	Coro 1 Switch	Coro 2 Switch	IPMI Switch
	Network Address	10.22.22.0		10.68.68.0	10.42.1.0	10.52.1.0		10.99.1.0	10.99.2.0	10.3.1.0	10.3.2.0	10.7.7.0
sf-001	Proxmox Server 1	10.22.22.1	10.22.22.101									10.7.7.1
sf-002	Proxmox Server 2	10.22.22.2	10.22.22.102									10.7.7.2
sf-003	Proxmox Server 3	10.22.22.3	10.22.22.103									10.7.7.3
sf-004	Proxmox Server 4	10.22.22.4	10.22.22.104									10.7.7.4
sf-005	Proxmox Server 5	10.22.22.5	10.22.22.105									10.7.7.5
sf-006	Proxmox Server 6	10.22.22.6	10.22.22.106									10.7.7.6
sf-007	Proxmox Server 7	10.22.22.7	10.22.22.107									10.7.7.7
cont1	Test Container 1	10.22.22.31
cont2	Test Container 2	10.22.22.32
cont3	Test Container 3	10.22.22.33
cont4	Test Container 4	10.22.22.34
kvmtemplate	KVM Template for Container	10.22.22.38
redis1	Redis 1 Master	10.22.22.41					10.62.1.41
redis2	Redis 2 Master	10.22.22.42					10.62.1.42
redis3	Redis 3 Master	10.22.22.43					10.62.1.43
redis4	Redis 4 Slave	10.22.22.44					10.62.1.44
redis5	Redis 5 Slave	10.22.22.45					10.62.1.45
redis6	Redis 6 Slave	10.22.22.46					10.62.1.46
pg1	Postgres Citus 1	10.22.22.91				10.52.1.91
pg2	Postgres Citus 2	10.22.22.92				10.52.1.92
pg3	Postgres Citus 3	10.22.22.93				10.52.1.93
pg4	Postgres Citus 4	10.22.22.94				10.52.1.94
pgbadger	Postgres pgBadger	10.22.22.97				10.52.1.97
powa	Postgres PoWA	10.22.22.98				10.52.1.98
pgadmin	Postgres pgadmin4	10.22.22.99				10.52.1.99
pgcluu	Postgres pgCluu	10.22.22.100				10.52.1.100
testo1	Test cluster	10.22.22.101
testo2	Test cluster	10.22.22.102
testo3	Test cluster	10.22.22.103
testo4	Test cluster	10.22.22.104
logstash1	Logstash	10.22.22.108
graylog1	System Log Analysis	10.22.22.109
flow	Network metrics server template	10.22.22.110
graf1	Grafana network metrics server	10.22.22.111			10.42.1.111	10.52.1.111
util	apt-cache etc	10.22.22.112
trace	test util	10.22.22.113
prom1	Prometheus Metrics	10.22.22.114			10.42.1.114	10.52.1.114	10.62.1.114
snmp1	SNMP Gathering	10.22.22.115		10.68.68.115				10.99.1.115	10.99.2.115	10.3.1.115	10.3.2.115	10.7.7.115
influx1	InfluxDB Server	10.22.22.116
telegraf1	Telegraf Server	10.22.22.117		10.68.68.117				10.99.1.117	10.99.2.117	10.3.1.117	10.3.2.117	10.7.7.117
elasticfive1	Elasticsearch 5 (Graylog)	10.22.22.118
mongo1	MongoDB Server	10.22.22.119
archivos	Archivos	10.22.22.120
desko	Remote desktop	10.22.22.121
kali1	KALI Desktop	10.22.22.122
kibana1	Kibana Analytics 6	10.22.22.123
elastic1	Elasticsearch version 6	10.22.22.124
kibanafive1	Kibana Analytics 5	10.22.22.125
opnids	OPNids	10.22.22.126		10.68.68.126
selks	SELKS	10.22.22.127
honeypot	Honey Pot on SELKS	10.22.22.128
adminer	Adminer Postgres Admin	10.22.22.129
cloud	Nextcloud	10.22.22.130			10.42.1.130
netboot	Netboot Server	10.22.22.131		10.68.68.131
fs	File Storage	10.22.22.132
build-buster	Debian Buster Build Server	10.22.22.133
vdev	RISC-V Development Server	10.22.22.134
gocd	GoCD Development Server	10.22.22.135
gocd-a-1	GoCD Agent 1	10.22.22.136
gocd-latex	GoCD Agent LaTeX	10.22.22.137
gocd-marlin	GoCD Agent Marlin	10.22.22.138
gocd-cura-buster	GoCD Agent Cura Buster	10.22.22.139
concourse	Concourse CI Development	10.22.22.140
buildbot	BuildBot Development	10.22.22.141
bb1	BuildBot Worker 1	10.22.22.142
www1	Webserver	10.22.22.151
www2	Webserver	10.22.22.152
ns1	DNS	10.22.22.161
code	Gitea	10.22.22.163			10.42.1.163		10.62.1.163
sql1	MariaDB Galera MySQL 1	10.22.22.171			10.42.1.171
sql2	MariaDB Galera MySQL 2	10.22.22.172			10.42.1.172
sql3	MariaDB Galera MySQL 3	10.22.22.173			10.42.1.173
sql4	MariaDB Galera MySQL 4	10.22.22.174			10.42.1.174
oca	OCA ERP	10.22.22.180				10.52.1.180
ocadev2	OCA Development ERP 2	10.22.22.195				10.52.1.195
ocadev3	OCA Development ERP 3	10.22.22.196				10.52.1.196
ocadev4	OCA Development ERP 4	10.22.22.197				10.52.1.197
mule1	Mule ESB	10.22.22.198
pwn	Nextcloud themoes	10.22.22.207			10.42.1.207
matomo	Web Analytics	10.22.22.219			10.42.1.219
www3	Webserver	10.22.22.223
www4	Webserver	10.22.22.224
ntp	NTP Server	10.22.22.231		10.68.68.231				10.99.1.231	10.99.2.231	10.3.1.231	10.3.2.231	10.7.7.231
ns2	DNS	10.22.22.232
range1	Netboot DHCP Range	10.22.22.238
range2	Netboot DHCP Range	10.22.22.239
Switch	Netgear Switch	10.22.22.240						10.99.1.240	10.99.2.240	10.3.1.240	10.3.2.240	10.7.7.240
sf-fw2	Firewall 2	10.22.22.252		10.68.68.252
sf-fw1	Firewall 1	10.22.22.253		10.68.68.253
sf-fw	CARP	10.22.22.254
	Broadcast Address	10.22.22.255		10.68.68.255	10.42.1.255	10.52.1.255		10.99.1.255	10.99.2.255	10.3.1.255	10.3.2.255	10.7.7.255

## AO Migrate
Server	Service	Done	CPU	RAM	FS KVM	DC	cp /	cp /opt	cp /srv	cp /home	cp /var	DNS	Net	Firewall	Backup	Sync / min

template	Debian Stretch KVM Template	Y			Y	FS						N	N	N	N
fs2	Aleph Objects Shared Filesystem 2	N			Y	FS						N	N	N	N

mail-sf	Postfix / Dovecot	N	6000	10240	Y	Dal	N	N/A	N/A	~		N	N	N	N
fone	VoIP	N	4000	4096	Y	Dal	N	N/A	N/A	N/A	N/A	N	N	N	N
viejo	Still used?	N	2000	4096	Y	Lax	N					N	N	N	N
draw	draw.io	N	2000	2048	Y	Lax	N			N/A		N	N	N	N
lool	LibreOffice Online	N	4000	2048	Y	Lax	N					N	N	N	N
own	Nextcloud	N	10000	4096	Y	Lax	N					N	N	N	N
turn	TURN server	N	1000	768	Y	Lax	~	N/A	N/A	N/A		N	N	N	N
analytics	Matomo	N	6000	8192	Y	Lax	N					N	N	N	N
spag	Spaghetti Detector Dev Server	N	2000	2048	Y	Lax	N					N	N	N	N
forum	phpBB	N	4000	2048	Y	Lax	N					N	N	N	N
jabber	XMPP	Y	2000	1024	Y	Lax	N	N/A	N/A	N/A		Y	Y	Y	N
lulzdev1	Drupal Dev Server 1	N	4000	4096	N	Lax	N					N	N	N	N
lulzdev2	Drupal Dev Server 2	N	4000	4096	N	Lax	N					N	N	N	N
lulzdev3	Drupal Dev Server 3	N	4000	4096	N	Lax	N					N	N	N	N
lulzdev4	Drupal Dev Server 4	N	4000	4096	N	Lax	N					N	N	N	N
lulzdev5	Drupal Dev Server 5	N	4000	4096	N	Lax	N					N	N	N	N
lulzstage	Drupal Dev Staging Server	N	4000	4096	N	Lax	N					N	N	N	N
lulzstage	Drupal Dev Staging Server	N	4000	4096	N	Lax	N					N	N	N	N	44
ohai	Open Hardware Assembly	N	4000	4096	Y	Lax	N					N	N	N	N
phplist	Mailing Lists	N	1000	1024	Y	Lax	N					N	N	N	N
survey	LimeSurvey	N	2000	1024	Y	Lax	N					N	N	N	N
aomail	Web Mail	N	4000	4096	Y	Dal	N					N	N	N	N
www	AO Website	N	2000	512	Y	Dal	N	N/A	N/A			N	N	N	N
discourse	Mailing Lists	N	4000	4224	N	Dal	N					N	N	N	N
aowww	NOT USED New AO Django Website	N	4000	4096	N	Dal	N					N	N	N	N

testo1	Test Node	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
apt-cache-sf	apt-cache-ng	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
once-dev1	OCA 11 Development Server 1	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
once-dev2	OCA 11 Development Server 2	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
once-dev3	OCA 11 Development Server 3	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
mule1	Mule ESB	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
talend1	Talend 1	Y			Y	FS	N/A	N/A	N/A	N/A	N/A	N	N	N	N
download-sf	Aleph Objects Downloads	N	2000	2048	Y	Dal	N				~	N	N	N	N
ao-projects	Aleph Objects OpenProjects	N	10000	4096	Y	Lax	N					N	N	N	N
ao-code	Aleph Objects Phabricator	N	10000	12288	Y	Lax	N					N	N	N	N
ao-lulzdev10	Aleph Objects Drupal Dev	Y			Y		N/A	N/A	N/A	N/A	N/A	N	N	N	N

## Firewall
Port Number	Service
20	FTP
21	FTP
22	SSH
23	Telnet
79	Finger
111	Portmapper
123	NTP
161	SNMP
162	SNMP Trap
1433	MSSQL
1521	Oracle
3306	MySQL
3389	MS
5432	Postgres
8080	http-alt
5900	VNC
3128	Proxy
5060	SIP

Upstream firewall blocks.
Does not include SharkFork firewall.

## rDNS
174.128.244.192	IN PTR	-	.forksand.com
174.128.244.193	IN PTR	testo5-twopool	.forksand.com
174.128.244.194	IN PTR	testo4	.forksand.com
174.128.244.195	IN PTR	ocadev2	.forksand.com
174.128.244.196	IN PTR	ocadev3	.forksand.com
174.128.244.197	IN PTR	ocadev4	.forksand.com
174.128.244.198	IN PTR	HONEYPOT	.forksand.com
174.128.244.199	IN PTR	HONEYPOT	.forksand.com
174.128.244.200	IN PTR	HONEYPOT	.forksand.com
174.128.244.201	IN PTR	testo1	.forksand.com
174.128.244.202	IN PTR	testo2	.forksand.com
174.128.244.203	IN PTR	testo3	.forksand.com
174.128.244.204	IN PTR	trace	.forksand.com
174.128.244.205	IN PTR	HONEYPOT	.forksand.com
174.128.244.206	IN PTR	twopool	.forksand.com
174.128.244.207	IN PTR	0	.forksand.com
174.128.244.208	IN PTR	ao-nat	.forksand.com
174.128.244.209	IN PTR	ao-once-dev1	.forksand.com
174.128.244.210	IN PTR	ao-once-dev2	.forksand.com
174.128.244.211	IN PTR	ao-once-dev3	.forksand.com
174.128.244.212	IN PTR	ao-talend1	.forksand.com
174.128.244.213	IN PTR	ao-download	.forksand.com
174.128.244.214	IN PTR	ao-projects	.forksand.com
174.128.244.215	IN PTR	ao-code	.forksand.com
174.128.244.216	IN PTR	ao-lulzbot	.forksand.com
174.128.244.217	IN PTR	HONEYPOT	.forksand.com
174.128.244.218	IN PTR	HONEYPOT	.forksand.com
174.128.244.219	IN PTR	matomo	.forksand.com
174.128.244.220	IN PTR	www	.forksand.com
174.128.244.221	IN PTR	www1	.forksand.com
174.128.244.222	IN PTR	www2	.forksand.com
174.128.244.223	IN PTR	www3	.forksand.com
174.128.244.224	IN PTR	www4	.forksand.com
174.128.244.225	IN PTR	HONEYPOT	.forksand.com
174.128.244.226	IN PTR	HONEYPOT	.forksand.com
174.128.244.227	IN PTR	HONEYPOT	.forksand.com
174.128.244.228	IN PTR	HONEYPOT	.forksand.com
174.128.244.229	IN PTR	HONEYPOT	.forksand.com
174.128.244.230	IN PTR	HONEYPOT	.forksand.com
174.128.244.231	IN PTR	ns1	.forksand.com
174.128.244.232	IN PTR	ns2	.forksand.com
174.128.244.233	IN PTR	mx1	.forksand.com
174.128.244.234	IN PTR	mx2	.forksand.com
174.128.244.235	IN PTR	HONEYPOT	.forksand.com
174.128.244.236	IN PTR	HONEYPOT	.forksand.com
174.128.244.237	IN PTR	HONEYPOT	.forksand.com
174.128.244.238	IN PTR	code	.forksand.com
174.128.244.239	IN PTR	oca	.forksand.com
174.128.244.240	IN PTR	gocd	.forksand.com
174.128.244.241	IN PTR	HONEYPOT	.forksand.com
174.128.244.242	IN PTR	HONEYPOT	.forksand.com
174.128.244.243	IN PTR	HONEYPOT	.forksand.com
174.128.244.244	IN PTR	internal	.forksand.com
174.128.244.245	IN PTR	util	.forksand.com
174.128.244.246	IN PTR	archivos	.forksand.com
174.128.244.247	IN PTR	cloud	.forksand.com
174.128.244.248	IN PTR	HONEYPOT	.forksand.com
174.128.244.249	IN PTR	HONEYPOT	.forksand.com
174.128.244.250	IN PTR	HONEYPOT	.forksand.com
174.128.244.251	IN PTR	HONEYPOT	.forksand.com
174.128.244.252	IN PTR	sf-fw2	.forksand.com
174.128.244.253	IN PTR	sf-fw1	.forksand.com
174.128.244.254	IN PTR	sf-fw1 sf-fw2	.forksand.com
174.128.244.255	IN PTR	-	.forksand.com
70.39.115.168	IN PTR	-	.forksand.com
70.39.115.169	IN PTR	sharktech	.forksand.com
70.39.115.170	IN PTR	sf-fw1 sf-fw2	.forksand.com
70.39.115.171	IN PTR	sf-fw1	.forksand.com
70.39.115.172	IN PTR	sf-fw2	.forksand.com
70.39.115.173	IN PTR	FREE	.forksand.com
70.39.115.174	IN PTR	FREE	.forksand.com
70.39.115.175	IN PTR	-	.forksand.com

#REF!
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!	IN PTR	#REF!	.alephobjects.com
#REF!

## Power Outlets
Device		Power Supply 1	Length		Power Supply 2	Length				APC 7941 A	Server		APC 7941 B	Server			Qty	Cord Color	Length	Brand	Order
sf-007		Outlet			Outlet																					Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1	sf-004		Outlet 2A			Outlet 2B					1	Free
sf-006		Outlet			Outlet
sf-005		Outlet			Outlet
sf-004		Outlet 2A			Outlet 2B					1	Free		1	Free			1	Black	1ft	Tripplite	1
sf-003		Outlet 3A			Outlet 3B					2	sf-004 A		2	sf-004 B			1	Gray	1ft	Iron Box	1
sf-002		Outlet 4A			Outlet 4B					3	sf-003 A		3	sf-003 B			1	White	1ft	Iron Box	1
sf-001		Outlet 5A			Outlet 5B					4	sf-002 A		4	sf-002 B			1	Green	1ft	Iron Box	1
sf-fw2		Outlet 6A			Outlet 6B					5	sf-001 A		5	sf-001 B			1	Blue	1ft	Iron Box	1
sf-fw1		Outlet 7A			Outlet 7B					6	sf-fw2 A		6	sf-fw2 B			1	Red	1ft	Iron Box	1
Admin Switch		Outlet 8A			None					7	sf-fw1 A		7	sf-fw1 B			1	Orange	1ft	Iron Box	1
Corosync 2 Switch		Outlet 9B			None					8	Admin Switch		8	Free			1	Yellow	1ft	Iron Box	1
Corosync 1 Switch		Outlet 9A			None					9	Corosync 1 Switch		9	Corosync 2 Switch
Filesystem 2 Switch		Outlet 10B			None					10	Filesystem 1 Switch		10	Filesystem 2 Switch			1	Blue	2ft	Tripplite	1
Filesystem 1 Switch		Outlet 10A			None					11	DMZ Switch		11	Migration Switch			1	Green	2ft	Tripplite	1
Migration Switch		Outlet 11B			None					12	Free		12	Free			1	White	2ft	Tripplite	1
DMZ Switch		Outlet 11A			None					13	Free		13	Free			1	Purple	2ft	Iron Box	1
										14	Free		14	Free			1	Orange	2ft	Tripplite	1
										15	Free		15	Free			1	Yellow	2ft	Iron Box	1
										16	Free		16	Free			1	Cyan	2ft	Iron Box	1
										17	Free		17	Free
										18	Free		18	Free			2	Green	3ft	Tripplite	2
										19	Free		19	Free			2	Orange	3ft	Tripplite	2
										20	Free		20	Free			2	Red	3ft	Tripplite	2
										21	Free		21	Free			2	White	3ft	Tripplite	2
																	2	Yellow	3ft	Iron Box	2
										Outlets			Outlets				2	Cyan	3ft	Iron Box	2

										http://www.apc.com/shop/us/en/products/Rack-PDU-Switched-Zero-U-30A-200-208V-21-C13-3-C19/P-AP7941							2	Black	4ft	Tripplite	2

																	1	Blue	6ft	Iron Box	1
																	1	Green	6ft	Iron Box	1
																	1	Orange	6ft	Iron Box	1
																	1	Red	6ft	Iron Box	1
																	1	White	6ft	Iron Box	1

																	27				27

																	Tripp Lite Standard Computer Power Extension Cord, 10A, 18 AWG (IEC-320-C14 to IEC-320-C13),

																	XXX Find extras on hand already

## Ethernet Cables
Make	Color	Lengths	Type	Shape	Use
Aucas	Black, yellow, blue	.5m, 1m, 2m+	Weave	Flat
Aucas	Red, blue, yellow	.5m, 1m, 2m+	Weave	Flat
Aucas	Blue, yellow, green	.5m, 1m, 2m+	Weave	Flat
Aucas	Purple, yellow, green	.5m, 1m, 2m+	Weave	Flat
Aucas	White, black, yellow	.5m, 1m, 2m+	Weave	Flat
DanYee	Gold	3ft, 10ft+	Weave	Flat
DanYee	Black, white	3ft, 10ft+	Weave	Flat
DanYee	Blue, white, black	3ft, 10ft+	Weave	Flat
DanYee	White, black	3ft, 10ft+	Weave	Flat
JellyTang	Blue, white, black	3ft, 10ft+	Weave	Flat
NC XQIN	Green, purple	3ft, 6ft+	Weave	Flat
Pasow	Blue, white, black	.5m, 1m, 2m+	Weave	Flat
Tera Grand	Black, white	3ft, 6ft+	Weave	Flat
Tera Grand	Purple, blue	3ft, 6ft+	Weave	Flat
Ultra Clarity	White	1.5ft, 3ft, 6ft+	Plastic	Round

XXX See „Switch Ports“ Tab

## SHARKFORK Orders
1	Model	Motherboard	RAM	CPU	Storage	Disks	Rack U	10G	1G	IPMI 1G	Power	Quote $	$/RAM	$/Ghz	$/Gig	Ordered	Supplier	PO	Status	Comments
Servers
sf-fw1	Iris FW1100		16	27	128	1	1	8	0	1	XXX	4,064	254	149	31.75	4,064	PogoLinux		Received	2x SPF+
sf-fw2	Iris FW1100		16	27	128	1	1	8	0	1	XXX	4,064	254	149	31.75	4,064	PogoLinux		Received	2x SPF+
sf-004	Iris NV2225	SYS-2029U-TN24R4T	128	48	3,700	5	2	6	0	1	XXX	13,838	108	288	3.74	13,838	PogoLinux		Received
sf-003	Iris NV1211	SYS-1029U-TN10RT	64	44	5,300	7	1	6	0	1	XXX	12,542	196	285	2.37	12,542	PogoLinux		Received
sf-002	Iris 1292-R4T	SYS-6019U-TR4T	128	33.6	24,000	4	1	6	0	1	XXX	6,364	50	189	0.27	6,364	PogoLinux		Received
sf-001	Iris 1292-R4T	SYS-6019U-TR4T	128	33.6	24,000	4	1	6	0	1	XXX	6,364	50	189	0.27	6,364	PogoLinux		Received
sf-005	RAX XT8-11S1-10G	X11SPW-TF	32	33.6	1,000	4	1	6	0	1	XXX	3,000	94	89	3.00	3,000	ThinkMate		Received	XXX Get exact numbers
sf-006	Iris 1292-R4T	SYS-6019U-TR4T	128	33.6	24,000	4	1	6	0	1	XXX	6,364	50	189	0.27	6,364	PogoLinux		Received	XXX Get exact numbers
sf-007	Iris NV2225	SYS-2029U-TN24R4T	128	48	3,700	5	2	6	0	1	XXX	13,838	108	288	3.74	13,838	PogoLinux		Received	XXX Get exact numbers

Shipping																446
Subtotal			768	329	85,956	35	11	58	0	9	0	$70,440				$70,886

Switches
admin / ipmi	Netgear Prosafe S3300-28X						1	2	26	0		587				587	Amazon		Received	28-Port 1 Gigabit Switch
DMZ	Netgear ProSafe XS716T						1	16	0			1,130			71	1,130	Amazon		Received	16-Port 10 Gigabit Switch
Filesystem 1	Netgear ProSafe XS716T						1	16	0			1,130			71	1,130	Amazon		Received	16-Port 10 Gigabit Switch
Filesystem 2	Netgear ProSafe XS716T						1	16	0			1,104			69	1,104	Amazon		Received	16-Port 10 Gigabit Switch
Corosync 1	Netgear ProSafe XS716T						1	16	0			1,130			71	1,130	Amazon		Received	16-Port 10 Gigabit Switch
Corosync 2	Netgear ProSafe XS716T						1	16	0			1,130			71	1,130	Amazon		Received	16-Port 10 Gigabit Switch
Migration	Netgear ProSafe XS716T						1	16	0			1,130			71	1,130	Amazon		Received	16-Port 10 Gigabit Switch

Subtotal							7	98	26	0		$7,340				$7,340

Patch cables & Panels
Ethernet Cables	Various CAT 7											400				400	Amazon		Received	Need patch cables of different colors & lengths
Power Cables	Various											250				250	Amazon		Received

Subtotal												$650				$650

Totals			768	329	85,956	35	18			18	0	$78,431				$78,877
Monthly (36 months)												2,179
Colocation												850	XXX
Monthly Total												$3,029

## Models Configs
To Buy	Model	RAM	CPU	Gigs	Disks	Rack U	10G	1G	IPMI 1G	Watt	Quote $	$/RAM	$/Ghz	$/Gig	Ordered	Supplier	PO	Status	Comments
	Iris NV1210	64	28	2,528	6	1	4	1	1		12,750	199	455	5.04		PogoLinux		Estimate
	Iris NV1210	64	44	4,000	10	1	4	1	1		14,532	227	330	3.63		PogoLinux		Estimate	Check quad 10G eth
	Iris NV1210	64	44	800	2	1	4	2	1		9,368	146	213	11.71		PogoLinux		Estimate	2x SATA DOM, extra 2x 1 Gig. NVMe.
	Iris NV1210	32	34	800	2	1	4	2	1		7,486	234	223	9.36		PogoLinux		Estimate	2x SATA DOM, extra 2x 1 Gig. NVMe.

	Iris 1298-ER4T	64	44	800	2	1	4	2	1		7,568	118	172	9.46		PogoLinux		Estimate	2x SATA DOM, extra 2x 1 Gig. SSD.

	Iris NV2224	128	44	1,728	6	2	8	0	1		13,354	104	304	7.73		PogoLinux		Estimate	Check quad 10G eth

	Iris 1288RT	32	34	480	2	1	4	0	1	2.2	4,761	149	142	9.92		PogoLinux		Estimate
	Iris 1288RT	32	44	480	2	1	4	0	1	2.2	5,909	185	134	12.31		PogoLinux		Estimate

	Iris 1281RT	32	34	20,000	4	1	2	1	1		4,650	145	138	0.23		PogoLinux		Estimate
	Iris 1281RT	32	34	4,240	2	1	4	1	1		4,391	137	131	1.04		PogoLinux		Estimate

	Iris 1228TP Left Node	16	20	400		1	2	1	1		3,350	209	164	8.38		PogoLinux		Estimate
	Iris 1228TP Right Node	16	20	400		0	2	1	1		3,350	209	164	8.38		PogoLinux		Estimate
	Iris 1228TP Left Node	32	44	400		1	2	1	1		4,800	150	109	12.00		PogoLinux		Estimate
	Iris 1228TP Right Node	32	44	400		0	2	1	1		4,800	150	109	12.00		PogoLinux		Estimate
	Iris 1228TP Left Node	64	44	400		1	2	1	1		5,625	88	128	14.06		PogoLinux		Estimate
	Iris 1228TP Left Node	32	44	800		1	2	1	1		5,250	164	119	6.56		PogoLinux		Estimate
	Iris 1228TP Right Node	32	44	800		0	2	1	1		5,250	164	119	6.56		PogoLinux		Estimate
	Iris 1228TP Left Node	32	44	1,600		1	2	1	1		6,450	202	147	4.03		PogoLinux		Estimate
	Iris 1228TP Right Node	32	44	1,600		0	2	1	1		6,450	202	147	4.03		PogoLinux		Estimate

	Iris 1181	32	22	2,000		1			1		3,548	111	161	1.77		PogoLinux		Estimate
	Iris 1181	8	2	2,000		1			1		$2,811	351	1,654	1.41		PogoLinux		Estimate
	Iris 1181	8	2	4,000		1			1		2,891	361	1,701	0.72		PogoLinux		Estimate

	Iris 2281T	32	44	4,000	4	2			1

	Iris FW1100	16	27	80	0	1	2	6	1	XXX	3,472	217	128	43.40		PogoLinux		Quote 92844-r2	XXX disk size ???
	Iris NV2225	128	48	3,700	5	2	4	2	1	XXX	13,356	104	278	3.61		PogoLinux		Quote 92844-r2	Total 4x 10G and 2x 1G, confirm
	Iris 1292-R4T	128	33.6	24,000	4	1	4	2	1	XXX	6,646	52	198	0.28		PogoLinux		Quote 92844-r2	SATA DOM etc?
	Iris NV1211	64	44	5,300	7	1	6	0	1	XXX	12,542	196	285	2.37		PogoLinux		Quote 92844-r2	All 10G

																				Ports	$/Port
	Netgear XS708T-100NES					1	8				800			100		Amazon		Quote	8-Port 10 Gigabit Switch	8	100
	Netgear XS716E-100NES					1	16				1,078			67		Amazon		Quote	16-Port 10 Gigabit Switch	16	67
	Netgear XS728T-100NES					1	28				1,949			70		Amazon		Quote	28-Port 10 Gigabit Switch	28	70
	Netgear XS748T-100NES					1	48				3,800			79		Amazon		Quote	48-Port 10 Gigabit Switch	48	79
	Netgear XS708E					1	8				640			80		Amazon		Quote	8-Port 10 Gigabit Switch	8	80

	Netgear JGS524					1		24			119			5		Amazon		Quote	24-Port 1 Gigabit Switch	24	5

	TP-Link TL-SG1048					1		48			265			6		Amazon		To order	48-Port 1 Gigabit Switch	48	6
	Quanta T1048-LB9						4	48	1		2,449			51				Rare ?	4x SPF+	52	47
	Edge-Core AS4610-54P					1	4	48	1		2,643			55				Rare ?	4x SPF+	52	51

Horizontal Cable Duct

## Current Servers
Server	Users	Current Host	Best Host	Current System	Best System	Priority	RAM	CPU	Disk	Actual	Proposed	IBM	Elasticho	EH Calc	Premise	Softsys	FDC	Linode
analytics.alephobjects.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	8	6.0	40	$235	$40		$235	$235	$56			$40
amfw5.alephobjects.com	AO	Aleph Mountain	Aleph Mountain	pfsense Server	pfsense Server	-	16	19.2	80	69	69			561	69			160
amfw6.alephobjects.com	AO	Aleph Mountain	Aleph Mountain	pfsense Server	pfsense Server	-	16	19.2	80	69	69			561	69			160
aobuild1.alephobjects.com	R&D	Aleph Mountain	Denver	Debian Server, KVMs	Server/Bare Metal	3	16	9.6	400	56	199	$497		516	56	$235	$199	80
aocluster2.alephobjects.com	Production	Aleph Mountain	Aleph Mountain	Debian Server	Debian Server	-	16	20.0	400	83	56			651	83			160
aomail.alephobjects.com	AO	Elastichosts DAL	Denver	Debian KVM	Debian KVM	3	4	4.0	15	131	20		131	131	56			20
belly1.alephobjects.com	AO	Tummy Denver	Tummy Denver	CentOS Server	CentOS Server	-	16	8.5	2,100	1,500	1,500			927	194			80
belly2.alephobjects.com	AO	Tummy Denver	Tummy Denver	CentOS Server	CentOS Server	-	16	8.5	2,100	2,000	2,000			927	194			80
cam.alephobjects.com	Admin	Aleph Mountain	Aleph Mountain	Debian Server	Debian Server	-	16	9.6	5,600	56	194			1,816	56			80
codedb.alephobjects.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Bare Metal/KVM	5	8	4.0	34	208	235	235	208	208	56	125	235	40
code.alephobjects.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Bare Metal/KVM	5	12	10.0	174	393	235	235	393	393	56	190	235	80
discourse.alephobjects.com	AO	Elastichosts DAL	Denver	Debian KVM/Docker	KVM/Docker	3	2	2.0	30	73	10		73	73	56			10
do.alephobjects.com	AO	Aleph Mountain	AM/Denver	Debian Server	Server/Bare Metal	7	32	20.0	800	153	529	1,084		1,039	153	499	529	320
dodev.alephobjects.com	Admin	Elastichosts LAX	AM/Denver	Debian KVM	Server/Bare Metal	2	4	4.0	200	177	235	235	177	177	56	125	235	80
doit.alephobjects.com	Admin	Elastichosts LAX	AM/Denver	Debian KVM	Server/Bare Metal	2	4	4.0	200	177	235	235	177	177	56	125	235	80
download.alephobjects.com	Public	Elastichosts DAL	Worldwide	Debian KVM	Debian KVM	-	2	2.0	290	138	80		138	138	56			80
drupalsql2.alephobjects.com	Public	Elastichosts LAX	To retire	Debian KVM	To retire	-	4	2.0	35	110	0		110	110	56			20
fone.alephobjects.com	Public	Elastichosts DAL	Denver	Debian KVM	Bare Metal/KVM	7	4	4.0	76	146	235	235	146	146	56	125	235	20
fone2.alephobjects.com	Public	Aleph Mountain	Retired	Debian Server	Retired	-	4	5.6	70	56	0			165	56			20
forum.lulzbot.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	2	4.0	76	110	20		110	110	56			20
fs.alephobjects.com	AO	Aleph Mountain	AM/Denver	Debian Server	Server/Bare Metal	10	32	19.2	1,500	167	529	1,128		1,204	167	589	529	640
jabber.alephobjects.com	AO/Contractors	Elastichosts LAX	Denver/World	Debian KVM	Debian KVM	4	1	2.0	10	50	5		50	50	56			5
jebstation.alephobjects.com	AO	Aleph Mountain	To retire	Fedora Server	To retire	-	16	23.4	1,000	83	0			846	83			480
lool.alephobjects.com	AO/Contractors	Elastichosts LAX	Denver	Debian KVM/Docker	KVM/Docker	6	2	8.0	18	148	20		148	148	56			20
lulzdev1.lulzbot.com	AO/Contractors	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	4	4.0	54	141	20		141	141	56			20
lulzdev2.lulzbot.com	AO/Contractors	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	4	4.0	54	141	20		141	141	56			20
lulzdev3.lulzbot.com	AO/Contractors	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	4	4.0	54	141	20		141	141	56			20
lulzdev4.lulzbot.com	AO/Contractors	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	4	4.0	54	141	20		141	141	56			20
staging.lulzbot.com	AO/Contractors	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	4	4.0	54	141	20		141	141	56			20
mail.alephobjects.com	Public	Elastichosts DAL	Denver/World	Debian KVM	Debian KVM	3	10	6.0	1,038	521	480		521	521	125			480
oca.alephobjects.com	AO	Aleph Mountain	AM/Denver	Debian Server	Server/Bare Metal	10	32	39.6	800	153	529	1,084		1,294	153	464	529	320
ocadev.alephobjects.com	AO/Contractors	-	AM/Denver	-	KVM	10	32	39.6	800	153	320			1,294	153			320
ohai.lulzbot.com	Public	Elastichosts LAX	Worldwide	Debian KVM	KVM	-	4	4.0	31	135	20		135	135	56			20
ops.alephobjects.com	Admin	Elastichosts LAX	Alt. Worldwide	Debian KVM	Bare Metal/KVM	7	4	8.0	88	201	235	235	201	201	56	125	235	40
own.alephobjects.com	AO/Contractors	Elastichosts LAX	Denver	Debian KVM/Docker	KVM/Docker	6	4	10.0	120	235	40		235	235	56			40
p.alephobjects.com	AO	Aleph Mountain	Aleph Mountain	Debian Server	Server	-	16	28.8	400	83	56			765	83			160
phplist.alephobjects.com	AO	Elastichosts LAX	Denver	Debian KVM	Debian KVM	2	1	1.0	10	37	5		37	37	56			5
projects.alephobjects.com	AO/Contractors	Elastichosts LAX	Denver	Debian KVM	Debian KVM	6	4	10.0	10	208	20		208	208	56			20
survey.alephobjects.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Debian KVM	-	1	2.0	10	50	5		50	50	56			5
traccar.alephobjects.com	Admin	Elastichosts LAX	AM/Denver	Debian KVM	Debian KVM	2	1	1.0	10	37	5		37	37	56			5
turn.alephobjects.com	AO/Contractors	Elastichosts LAX	Denver/World	Debian KVM	Bare Metal/KVM	4	1	2.0	7	49	235	235	49	49	56	125	235	5
util.alephobjects.com	Admin	Aleph Mountain	Aleph Mountain	Debian Server	Server	-	16	12.4	400	97	56			552	97			80
viejo.lulzbot.com	AO	Elastichosts LAX	To retire	Debian KVM	To retire	-	4	2.0	93	124	0		124	124	56			40
wiki.alephobjects.com	AO	Elastichosts LAX	Denver	Debian KVM	Debian KVM	5	2	2.0	20	70	10		70	70	56			10
www.lulzbot.com	Public	Elastichosts LAX	Worldwide	Debian KVM	Bare Metal/KVM	7	32	20.0	54	853	529	888	853	853	97	319	529	160
www.alephobjects.com	Public	Elastichosts DAL	Worldwide	Debian KVM	Debian KVM	-	1	2.0	35	47	10		47	47	56			10
lagofw7.alephobjects.com	AO	Aleph Lago	Aleph Lago	pfsense Server	pfsense Server	-	16	19.2	80	103	103			561	103			160
lagofw8.alephobjects.com	AO	Aleph Lago	Aleph Lago	pfsense Server	pfsense Server	-	16	19.2	80	103	103			561	103			160
Crapple Mac Builder	AO/Contractors	-	Worldwide	-	OS X Server	7					100
Windoz Builder	AO/Contractors	-	Worldwide	-	Win10 Server	7					100

Server = We run the server at our building							470	468	19,684	$10,342	$9,576	$6,326	$5,359	$19,596	$7,347	$3,046	$3,960	$4,915
Bare Metal = We have full control (IPMI) over a server rented at a data center							Gigs	G Hz	Gbytes	Est.	Est.		$5,946		36
KVM = We buy a KVM (Kernel Virtual Machine) from a data center													Actual		Months
Docker = We buy a docker from a data center
Change
Estimate
Move Priority = 10 is now, 1 = whenever
RAM = in gigabytes
CPU = In Ghz X num CPUs. Taken from /proc, may be overstated in KVMs
Disk = in gigabytes
Elastichosts price is avg from monthly invoices
IBM, FDC, Softsys prices are for bare metal

## Pogo HD
Drive	Price	Gigs	$/Tera		4x
HGST Ultrastar 7K6000 Series
HGST Ultrastar 2TB 7200RPM SATA 6Gb/s	$176	2,000	$88		$706
HGST Ultrastar 4TB 7200RPM SATA 6Gb/s	224	4,000	56		894
HGST Ultrastar 6TB 7200RPM SATA 6Gb/s	276	6,000	46		1,106
HGST Ultrastar 2TB 7200RPM SAS 12Gb/s	176	2,000	88		706
HGST Ultrastar 4TB 7200RPM SAS 12Gb/s	241	4,000	60		965
HGST Ultrastar 6TB 7200RPM SAS 12Gb/s	288	6,000	48		1,153
HGST Ultrastar HE8 Series
HGST Ultrastar HE8 6TB 7200RPM SATA 6Gb/s	353	6,000	59		1,412
HGST Ultrastar HE8 8TB 7200RPM SATA 6Gb/s	400	8,000	50		1,600
HGST Ultrastar HE8 6TB 7200RPM SAS 12Gb/s	371	6,000	62		1,482
HGST Ultrastar HE8 8TB 7200RPM SAS 12Gb/s	412	8,000	51		1,647
HGST Ultrastar HE10 Series
HGST Ultrastar HE10 8TB 7200RPM SATA 6Gb/s	441	8,000	55		1,765
HGST Ultrastar HE10 10TB 7200RPM SATA 6Gb/s	524	10,000	52		2,094
HGST Ultrastar HE10 8TB 7200RPM SAS 12Gb/s	459	8,000	57		1,835
HGST Ultrastar HE10 10TB 7200RPM SAS 12Gb/s	535	10,000	54		2,141
Western Digital 7200 RPM SATA Drives
Western Digital RE 1TB 7200RPM SATA 128MB 6Gb/s	106	1,000	106		424
Western Digital RE 2TB 7200RPM SATA 128MB 6Gb/s	182	2,000	91		729
Western Digital Gold 4TB 7200RPM SATA 128MB 6Gb/s	280	4,000	70		1,120
Western Digital Gold 6TB 7200RPM SATA 128MB 6Gb/s	471	6,000	78		1,882
Western Digital Gold 8TB 7200RPM SATA 128MB 6Gb/s	659	8,000	82		2,635
Western Digital Gold 10TB 7200RPM SATA 128MB 6Gb/s	706	10,000	71		2,824
Seagate 7200 RPM SATA and SAS Drives
Seagate Enterprise Capacity 1TB 6Gb/s 7200rpm 128MB SATA	113	1,000	113		452
Seagate Enterprise Capacity 2TB 6Gb/s 7200rpm 128MB SATA	149	2,000	75		598
Seagate Enterprise Capacity 3TB 6Gb/s 7200rpm 128MB SATA	186	3,000	62		744
Seagate Enterprise Capacity 4TB 6Gb/s 7200rpm 128MB SATA	212	4,000	53		847
Seagate Enterprise Capacity 1TB 12Gb/s 7200rpm 128MB SAS	126	1,000	126		504
Seagate Enterprise Capacity 2TB 12Gb/s 7200rpm 128MB SAS	159	2,000	79		635
Seagate Enterprise Capacity 3TB 12Gb/s 7200rpm 128MB SAS	253	3,000	84		1,012
Seagate Enterprise Capacity 4TB 12Gb/s 7200rpm 128MB SAS	256	4,000	64		1,026
Mainstream SATA SSD
Intel S3520 Series 150GB 3D MLC SSD 6Gb/s	127	150	847		508
Intel S3520 Series 240GB 3D MLC SSD 6Gb/s	212	240	882		847
Intel S3520 Series 480GB 3D MLC SSD 6Gb/s	406	480	846		1,624
Intel S3520 Series 800GB 3D MLC SSD 6Gb/s	482	800	603		1,929
Intel S3520 Series 960GB 3D MLC SSD 6Gb/s	588	960	613		2,353
Intel S3520 Series 1.2TB 3D MLC SSD 6Gb/s	700	1,200	583		2,800
Intel S3520 Series 1.6TB 3D MLC SSD 6Gb/s	882	1,600	551		3,529
Enterprise SATA SSD
Micron 5100 ECO Series 480GB SSD 6Gb/s	282	480	588		1,129
Micron 5100 ECO Series 960GB SSD 6Gb/s	482	960	502		1,929
Micron 5100 ECO Series 1920GB SSD 6Gb/s	794	1,920	414		3,176
Micron 5100 ECO Series 3840GB SSD 6Gb/s	1,429	3,840	372		5,718
Micron 5100 ECO Series 7680GB SSD 6Gb/s	2,912	7,680	379		11,647
Micron 5100 PRO Series 240GB SSD 6Gb/s	176	240	735		706
Micron 5100 PRO Series 480GB SSD 6Gb/s	306	480	637		1,224
Micron 5100 PRO Series 960GB SSD 6Gb/s	524	960	545		2,094
Micron 5100 PRO Series 1920GB SSD 6Gb/s	894	1,920	466		3,576
Micron 5100 PRO Series 3840GB SSD 6Gb/s	1,941	3,840	506		7,765
Intel S3610 Series 200GB MLC SSD 6Gb/s	209	200	1,047		838
Intel S3610 Series 400GB MLC SSD 6Gb/s	353	400	882		1,412
Intel S3610 Series 480GB MLC SSD 6Gb/s	429	480	895		1,718
Intel S3610 Series 800GB MLC SSD 6Gb/s	694	800	868		2,776
Intel S3610 Series 1.2TB MLC SSD 6Gb/s	1,082	1,200	902		4,329
Intel S3610 Series 1.6TB MLC SSD 6Gb/s	1,453	1,600	908		5,812
Intel S3710 Series 200GB MLC SSD 6Gb/s	371	200	1,853		1,482
Intel S3710 Series 400GB MLC SSD 6Gb/s	669	400	1,674		2,678
Intel S3710 Series 800GB MLC SSD 6Gb/s	1,411	800	1,763		5,642
Intel S3710 Series 1.2TB MLC SSD 6Gb/s	2,115	1,200	1,763		8,461
NVMe SSD
Intel SSD DC P3500 Series (400GB, 2.5in PCIe 3.0, 20nm, MLC)	451	400	1,128		1,805
Intel SSD DC P3500 Series (1.2TB, 2.5in PCIe 3.0, 20nm, MLC)	1,127	1,200	939		4,507
Intel SSD DC P3600 Series (400GB, 2.5in PCIe 3.0, 20nm, MLC)	582	400	1,456		2,329
Intel SSD DC P3600 Series (800GB, 2.5in PCIe 3.0, 20nm, MLC)	950	800	1,187		3,800
Intel SSD DC P3600 Series (1.2TB, 2.5in PCIe 3.0, 20nm, MLC)	1,425	1,200	1,187		5,699
Intel SSD DC P3600 Series (1.6TB, 2.5in PCIe 3.0, 20nm, MLC)	1,900	1,600	1,187		7,599
Intel SSD DC P3600 Series (2.0TB, 2.5in PCIe 3.0, 20nm, MLC)	2,375	2,000	1,187		9,499
Intel SSD DC P3700 Series (400GB, 2.5in PCIe 3.0, 20nm, MLC)	792	400	1,979		3,167
Intel SSD DC P3700 Series (800GB, 2.5in PCIe 3.0, 20nm, MLC)	1,583	800	1,979		6,333
Intel SSD DC P3700 Series (1.6TB, 2.5in PCIe 3.0, 20nm, MLC)	3,166	1,600	1,979		12,665
Intel SSD DC P3700 Series (2.0TB, 2.5in PCIe 3.0, 20nm, MLC)	3,958	2,000	1,979		15,832

## Pogo CPU
CPU	Price	G Hz	$/G Hz		Base	Price	Ext	G Hz	$/G Hz
4 Core Processors
Intel Xeon E5-2623v4 4C 2.6GHz 10MB Cache	$279	10.4	$27		500	$279	$779	10.4	$75
Intel Xeon E5-2637v4 4C 3.5GHz 15MB Cache	856	14.0	61		500	856	1,356	14.0	97
6 Core Processors
Intel Xeon E5-2603v4 6C 1.7GHz 15MB Cache	0	10.2	0		500	0	500	10.2	49
Intel Xeon E5-2643v4 6C 3.4GHz 20MB Cache	1,467	20.4	72		500	1,467	1,967	20.4	96
8 Core Processors
Intel Xeon E5-2609v4 8C 1.7GHz 20MB Cache	102	13.6	8		500	102	602	13.6	44
Intel Xeon E5-2620v4 8C 2.1GHz 20MB Cache	225	16.8	13		500	225	725	16.8	43
Intel Xeon E5-2667v4 8C 3.2GHz 25MB Cache	2,022	25.6	79		500	2,022	2,522	25.6	99
10 Core Processors
Intel Xeon E5-2630v4 10C 2.2GHz 25MB Cache	499	22.0	23		500	499	999	22.0	45
Intel Xeon E5-2640v4 10C 2.4GHz 25MB Cache	799	24.0	33		500	799	1,299	24.0	54
12 Core Processors
Intel Xeon E5-2650v4 12C 2.2GHz 30MB Cache	1,048	26.4	40		500	1,048	1,548	26.4	59
14 Core Processors
Intel Xeon E5-2660v4 14C 2.0GHz 35MB Cache	1,354	28.0	48		500	1,354	1,854	28.0	66
Intel Xeon E5-2680v4 14C 2.4GHz 35MB Cache	1,685	33.6	50		500	1,685	2,185	33.6	65
Intel Xeon E5-2690v4 14C 2.6GHz 35MB Cache	2,064	36.4	57		500	2,064	2,564	36.4	70
16 Core Processors
Intel Xeon E5-2683v4 16C 2.1GHz 40MB Cache	1,791	33.6	53		500	1,791	2,291	33.6	68
18 Core Processors
Intel Xeon E5-2695v4 18C 2.1GHz 45MB Cache	2,426	37.8	64		500	2,426	2,926	37.8	77
Intel Xeon E5-2697v4 18C 2.3GHz 45MB Cache	3,055	41.4	74		500	3,055	3,555	41.4	86
20 Core Processors
Intel Xeon E5-2698v4 20C 2.2GHz 50MB Cache	3,308	44.0	75		500	3,308	3,808	44.0	87
22 Core Processors
Intel Xeon E5-2699v4 22C 2.2GHz 55MB Cache	4,286	48.4	89		500	4,286	4,786	48.4	99

	27,266	487	56		9,000	27,266	36,266	487	75
Baseline is 6 core 1.7GHz

## Pogo RAM
CPU	Price	Gigs	$/Gig		Base	Price	Ext	Gigs	$/Gig
8GB DDR4 ECC Reg 2400MHz (2 x 4GB)	$0	8	$0		50	$0	$50	8	$6
16GB DDR4 ECC Reg 2400MHz (2 x 8GB)	45	16	3		50	45	95	16	6
16GB DDR4 ECC Reg 2400MHz (4 x 4GB)	176	16	11		50	176	226	16	14
32GB DDR4 ECC Reg 2400MHz (2 x 16GB)	198	32	6		50	198	248	32	8
32GB DDR4 ECC Reg 2400MHz (4 x 8GB)	266	32	8		50	266	316	32	10
64GB DDR4 ECC Reg 2400MHz (4 x 16GB)	572	64	9		50	572	622	64	10
64GB DDR4 ECC Reg 2400MHz (8 x 8GB)	708	64	11		50	708	758	64	12
64GB DDR4 ECC Reg 2400MHz (2 x 32GB)	588	64	9		50	588	638	64	10
128GB DDR4 ECC Reg 2400MHz (8 x 16GB)	1,320	128	10		50	1,320	1,370	128	11
128GB DDR4 ECC Reg 2400MHz (4 x 32GB)	1,353	128	11		50	1,353	1,403	128	11
128GB DDR4 ECC Reg 2133MHz (2 x 64GB)	1,706	128	13		50	1,706	1,756	128	14
256GB DDR4 ECC Reg 2400MHz (8 x 32GB)	2,882	256	11		50	2,882	2,932	256	11
256GB DDR4 ECC Reg 2133MHz (4 x 64GB)	3,588	256	14		50	3,588	3,638	256	14
512GB DDR4 ECC Reg 2133MHz (8 x 64GB)	7,353	512	14		50	7,353	7,403	512	14

Baseline is 8GB DDR4 ECC Reg 2400MHz (2 x 4GB)

## Pogo Configs
Model	PS	Net	RAM	CPU	Storage	Disks	Price	Extended	Lowest	SSD/Disks/Dual	Low SSD	Good	Ideal	Low NVMe	Max NVMe
Ceph Mon (3)
Iris 1181	Single 350W	Dual 1G	8	2	2,000	2x 7200 RPM, 3.5"	$2,811	$8,434	$8,434
Iris 1181	Single 350W	Dual 1G	8	2	4,000	2x 7200 RPM, 3.5"	2,891	8,674
Iris 1181	Single 350W	Dual 1G	16	22	400	2x SSD S3710	3,901	11,702
Iris 1288RT	Dual 700W	Dual 10G	16	3	2,000	2x 7200 RPM, 2.5"	4,371	13,112
Iris 1288RT	Dual 700W	Dual 10G	16	3	400	2x SSD S3710	4,651	13,952		$13,952	$13,952
Iris 1288RT	Dual 700W	Dual 10G	32	44	400	2x SSD S3710	5,811	17,432				$17,432	$17,432
Iris NV1210	Dual 1000W	Dual 10G	16	3	128	2x Internal SATA DOM	6,207	18,621						$18,621
Iris NV1210	Dual 1000W	Dual 10G	32	44	928	2x DOM + 2x NVMe P3700	9,023	27,070							$27,070
Ceph OSD (3)
Iris 1181	Single 350W	Dual 1G	8	2	4,000	2x 7200 RPM, 3.5"	2,891	8,674	8,674
Iris 1288RT	Dual 700W	Dual 10G	16	3	2,000	2x 7200 RPM, 2.5"	4,371	13,112		13,112
Iris 1288RT	Dual 700W	Dual 10G	32	44	2,000	10x SSD S3710	8,775	26,326			26,326	26,326
Iris NV1210	Dual 1000W	Dual 10G	64	44	4,128	2x DOM + 10x NVMe P3700	15,682	47,045					47,045	47,045	47,045
Ceph MDS (2)
Iris 1181	Single 350W	Dual 1G	16	22	400	2x SSD S3710	3,901	7,801	7,801
Iris 1288RT	Dual 700W	Dual 10G	16	3	400	2x SSD S3710	4,651	9,301		9,301	9,301
Iris 1288RT	Dual 700W	Dual 10G	32	44	400	2x SSD S3710	5,811	11,621				11,621	11,621
Iris NV1210	Dual 1000W	Dual 10G	16	3	128	2x Internal SATA DOM	6,207	12,414						12,414
Iris NV1210	Dual 1000W	Dual 10G	32	44	128	2x Internal SATA DOM	7,440	14,880
Iris NV1210	Dual 1000W	Dual 10G	64	44	128	2x Internal SATA DOM	7,765	15,529
Iris NV1210	Dual 1000W	Dual 10G	32	44	928	2x DOM + 2x NVMe P3700	9,023	18,047							18,047
Ceph KVM (4)
Iris 1181	Single 350W	Dual 1G	16	2	2,000	2x 7200 RPM, 3.5"	2,887	11,546	11,546
Iris 1181	Single 350W	Dual 1G	32	22	2,000	2x 7200 RPM, 3.5"	3,548	14,191
Iris 1181	Single 350W	Dual 1G	32	22	400	2x SSD S3710	4,063	16,252
Iris 1181	Single 350W	Dual 1G	64	22	400	2x SSD S3710	4,461	17,843
Iris 1288RT	Dual 700W	Dual 10G	32	44	400	2x SSD S3710	5,811	23,242		23,242	23,242
Iris 1288RT	Dual 700W	Dual 10G	64	44	400	2x SSD S3710	6,208	24,833				24,833	24,833
Iris NV1210	Dual 1000W	Dual 10G	16	3	128	2x Internal SATA DOM	6,207	24,828						24,828
Iris NV1210	Dual 1000W	Dual 10G	32	44	128	2x Internal SATA DOM	7,440	29,760
Iris NV1210	Dual 1000W	Dual 10G	64	44	128	2x Internal SATA DOM	7,765	31,059
Iris NV1210	Dual 1000W	Dual 10G	32	44	928	2x DOM + 2x NVMe P3700	9,023	36,093							36,093

All include 3 year onsite warranty ~$850/each									$36,455	$59,607	$72,821	$80,212	$100,931	$102,908	$128,255